## Sheet1
XEC-Modbus communication setting
1. XEC Modbus RTU Client (Master station no. = 0 )
1) PLC Program
data : %MB0
2) XG-PD setting
Slave %MW0 data is read to Master %MW10 area
Master %MW0 data is written to slave %MW100 area
2. XEC Modbus RTU Server(Slave station no. = 1 )
1) PLC Program
data : %MB0
2) XG-PD SLAVE setting
0x00000
0x10000
0x30000
0x40000
① Basic Setting
② P2P channel setting
③ P2P block setting
④ Enable P2P01 Link